## 0 - Initialisation
MeaH - SUIVMAINTENANCE v1.0
OUTIL DE PRODUCTION D'INDICATEURS DE L'ACTIVITE DE MAINTENANCE
Sensibilisés à la problématique de maintenance des bâtiments hospitaliers, 8 établissements se sont portés volontaires pour analyser et optimiser leurs organisations dans le cadre d’une démarche impulsée par la MeaH.
7 indicateurs de performance de la maintenance ont été définis par le groupe de travail : afin d'en connaître le détail, l'utilisateur se reportera utilement vers le rapport de phase 1 du chantier "Maintenance des bâitments", disponible sur le site MeaH.
- Indicateur 1 : le délai d'intervention
- Indicateur 2 : le temps de remise en service
- Indicateur 3 : le délai global de prise en charge
- Indicateur 4 : le pourcentage de solliciations non-conformes
- Indicateur 5 : la répartition préventif / curatif / travaux
- Indicateur 6 : la levée des réserves liées aux contrôles réglementaires
- Indicateur 7 : le niveau de qualité des prestataires
Etablissements partenaires : Cabinets de conseil partenaires :
- CH de Falaise (14)
- CH de Pontorson (50)
- CH de Nevers (58)
- CHRU de Lille (59)
- Centre Régional Léon Bérard (69)
- CH de Lagny Marne la Vallée (77)
- Polyclinique de la Forêt (77)
- Clinique Médicale et Pédagogique Dupré (92)

## 1_Paramètrage
PARAMETRAGE DES INDICATEURS
1. Délai d'intervention
Niveau 1 | Urgent | Service 1 | Service 1
Niveau 2 | Rapide | Service 2 | Service 2
Niveau 3 | Non urgent | Service 3 | Service 3
Niveau 4 | \...\ | Service 4 | Service 4
|  | Service 5 | Service 5
|  | Service 6 | Service 6
2. Temps de remis en service |  | Service 7 | Service 7
Pas de paramètrage possible |  | Service 8 | Service 8
|  | Service 9 | Service 9
|  | Service 10 | Service 10
|  | Service 11 | Service 11
3. Délai global de prise en charge |  | Service 12 | Service 12
Pas de paramètrage possible |  | Service 13 | Service 13
|  | Service 14 | Service 14
|  | Service 15 | Service 15
4. % de sollicitations non-conformes |  | Service 16 | \...\
|  | Service 17 | \...\
1ère catégorie | Sur le fond | Service 18 | \...\
2ème catégorie | Sur la forme | Service 19 | \...\
3ème catégorie | \...\ | Service 20 | \...\
5. Répartition préventif/curatif/travaux
Pas de paramètrage possible
6. Levée des réserves liées aux contrôles réglementaires
Type 1 | Grave
Type 2 | A traiter
Type 3 | \...\
7. Niveau de qualité des prestataires
Prestataire 1 | Prestataire 1
Prestataire 2 | Prestataire 2
Prestataire 3 | Prestataire 3
Prestataire 4 | Prestataire 4
Prestataire 5 | Prestataire 5
Prestataire 6 | Prestataire 6
Prestataire 7 | Prestataire 7
Prestataire 8 | Prestataire 8
Prestataire 9 | Prestataire 9
Prestataire 10 | Prestataire 10
Prestataire 11 | Prestataire 11
Prestataire 12 | Prestataire 12
Prestataire 13 | Prestataire 13
Prestataire 14 | Prestataire 14
Prestataire 15 | Prestataire 15
Prestataire 16 | \...\
Prestataire 17 | \...\
Prestataire 18 | \...\
Prestataire 19 | \...\
Prestataire 20 | \...\

## 2_Grille de recueil
Dossier | Identification | Libellé | Service | Préventif / curatif / travaux | Niveau d'urgence | Levée de réserve liée aux contrôles réglementaires | Sollicitation non conforme | Date de demande d'intervention | Heure de demande d'intervention | Date de prise en charge effective | Heure de prise en charge effective | Date de remise en service | Heure de remise en service | Prestataire | Note critére 1 : prise de rdv préalable dans les délais impartis | Note critére 2 : respect de la procédure d'accès à l'équipement | Note critére 3 : respect des consignes de tranquilité | Note critére 4 : respect des périodicités contractuelles | INDIC | Date de prise en charge effective Semaine | Date de prise en charge effective Mois | Date de prise en charge effective Année | Service | Niveau d'urgence | Indicateur 1 : Délai d'intervention | Indicateur 2 : Temps de remise en service | Indicateur 3 : Délai global de prise en charge | Indicateur 4 : Solliciation non-conforme | Indicateur 5 : Préventif / curatif / travaux | Indicateur 5 : Temps de remise en service | Indicateur 6 : Levée des réserves liées aux contrôles réglementaires | Indicateur 7 : Prestataire | Indicateur 7 : Niveau de qualité du prestataire | PARAM
Intervention 1 | Bon n°3 |  | Service 1 | Curatif | Urgent |  | Sur le fond | 2008-07-01 | 10:00 | 2008-07-01 | 11:15 | 2008-07-01 | 18:15 | Prestataire 1 | 2 | 4 | 2 | 3 |  | 27 | 7 | 2008 | Service 1 | Urgent | 0.052083 | 0.29167 | 0.34375 | Sur le fond | Curatif | 0.29167 |  | Prestataire 1 | 2.8 |  | Service 1 | Préventif | Urgent | 2008-01-01 | Grave | Sur le fond | 0:00 | Prestataire 1 | 1
Intervention 2 | Bon n°7 |  | Service 1 | Curatif | Rapide |  | Sur le fond | 2008-07-01 | 11:00 | 2008-07-01 | 14:10 | 2008-07-01 | 17:50 | Prestataire 2 | 4 | 1 | 1 | 2 |  | 27 | 7 | 2008 | Service 1 | Rapide | 0.13194 | 0.15278 | 0.28472 | Sur le fond | Curatif | 0.15278 |  | Prestataire 2 | 2 |  | Service 2 | Curatif | Rapide | 2008-12-31 | A traiter | Sur la forme | 23:59 | Prestataire 2 | 2
Intervention 3 | Bon n°11 |  | Service 1 | Préventif |  | Grave |  |  |  | 2008-07-01 | 8:00 | 2008-07-02 | 17:00 | [6 empty] | 27 | 7 | 2008 | Service 1 |  |  | 1899-12-31 09:00 |  |  | Préventif | 1899-12-31 09:00 | Grave |  |  |  | Service 3 | Travaux | Non urgent |  | \...\ | \...\ |  | Prestataire 3 | 3
Intervention 4 | Bon n°15 |  | Service 2 | Préventif | [5 empty] | 2008-07-01 | 8:30 | 2008-07-02 | 9:00 | Prestataire 2 | 2 | 1 | 2 | 1 |  | 27 | 7 | 2008 | Service 2 |  |  | 1899-12-31 00:30 |  |  | Préventif | 1899-12-31 00:30 |  | Prestataire 2 | 1.5 |  | Service 4 |  | \...\ |  |  |  |  | Prestataire 4 | 4
Intervention 5 | Bon n°19 |  | Service 1 | Curatif | Urgent |  | Sur la forme | 2008-07-01 | 15:00 | 2008-07-01 | 17:30 | 2008-07-02 | 7:30 | [6 empty] | 27 | 7 | 2008 | Service 1 | Urgent | 0.10417 | 0.58333 | 0.6875 | Sur la forme | Curatif | 0.58333 |  |  |  |  | Service 5 | [6 empty] | Prestataire 5
Intervention 6 | Bon n°23 |  | Service 2 | Curatif | Urgent |  |  | 2008-07-01 | 15:00 | 2008-07-01 | 17:45 | 2008-07-02 | 8:00 | [6 empty] | 27 | 7 | 2008 | Service 2 | Urgent | 0.11458 | 0.59375 | 0.70833 |  | Curatif | 0.59375 |  |  |  |  | Service 6 | [6 empty] | Prestataire 6
Intervention 7 | Bon n°27 |  | Service 2 | Travaux |  | Grave |  |  |  | 2008-07-08 | 8:00 | 2008-07-09 | 10:40 | Prestataire 1 | 2 | 1 | 1 | 2 |  | 28 | 7 | 2008 | Service 2 |  |  | 1899-12-31 02:40 |  |  | Travaux | 1899-12-31 02:40 | Grave | Prestataire 1 | 1.5 |  | Service 7 | [6 empty] | Prestataire 7
Intervention 8 | Bon n°31 |  | Service 1 | Curatif | Rapide |  |  | 2008-07-08 | 9:00 | 2008-07-08 | 9:45 | 2008-07-09 | 15:30 | [6 empty] | 28 | 7 | 2008 | Service 1 | Rapide | 0.03125 | 1899-12-31 05:45 | 1899-12-31 06:30 |  | Curatif | 1899-12-31 05:45 |  |  |  |  | Service 8 | [6 empty] | Prestataire 8
Intervention 9 | Bon n°35 |  | Service 1 | Préventif | [5 empty] | 2008-07-08 | 10:00 | 2008-07-09 | 16:00 | [6 empty] | 28 | 7 | 2008 | Service 1 |  |  | 1899-12-31 06:00 |  |  | Préventif | 1899-12-31 06:00 |  |  |  |  | Service 9 | [6 empty] | Prestataire 9
Intervention 10 | Bon n°39 |  | Service 1 | Curatif | Rapide |  | Sur le fond | 2008-07-08 | 9:30 | 2008-07-08 | 10:15 | 2008-07-08 | 15:15 | [6 empty] | 28 | 7 | 2008 | Service 1 | Rapide | 0.03125 | 0.20833 | 0.23958 | Sur le fond | Curatif | 0.20833 |  |  |  |  | Service 10 | [6 empty] | Prestataire 10
Intervention 11 | Bon n°43 |  | Service 2 | Curatif | Urgent |  | Sur la forme | 2008-07-08 | 11:50 | 2008-07-08 | 13:30 | 2008-07-08 | 14:00 | [6 empty] | 28 | 7 | 2008 | Service 2 | Urgent | 0.069444 | 0.020833 | 0.090278 | Sur la forme | Curatif | 0.020833 |  |  |  |  | Service 11 | [6 empty] | Prestataire 11
Intervention 12 | Bon n°47 |  | Service 2 | Curatif | Rapide |  |  | 2008-07-08 | 12:00 | 2008-07-08 | 12:30 | 2008-07-08 | 20:00 | Prestataire 2 | 2 | 2 | 4 | 2 |  | 28 | 7 | 2008 | Service 2 | Rapide | 0.020833 | 0.3125 | 0.33333 |  | Curatif | 0.3125 |  | Prestataire 2 | 2.5 |  | Service 12 | [6 empty] | Prestataire 12
Intervention 13 | Bon n°51 |  | Service 1 | Préventif |  | Grave |  |  |  | 2008-07-08 | 14:00 | 2008-07-09 | 12:15 | Prestataire 1 | 4 | 3 | 2 | 1 |  | 28 | 7 | 2008 | Service 1 |  |  | 0.92708 |  |  | Préventif | 0.92708 | Grave | Prestataire 1 | 2.5 |  | Service 13 | [6 empty] | Prestataire 13
Intervention 14 | Bon n°55 |  | Service 2 | Travaux | [5 empty] | 2008-07-08 | 14:00 | 2008-07-09 | 14:50 | [6 empty] | 28 | 7 | 2008 | Service 2 |  |  | 1899-12-31 00:50 |  |  | Travaux | 1899-12-31 00:50 |  |  |  |  | Service 14 | [6 empty] | Prestataire 14
Intervention 15 | Bon n°59 |  | Service 2 | Préventif | [5 empty] | 2008-07-08 | 14:00 | 2008-07-09 | 11:00 | [6 empty] | 28 | 7 | 2008 | Service 2 |  |  | 0.875 |  |  | Préventif | 0.875 |  |  |  |  | Service 15 | [6 empty] | Prestataire 15
Intervention 16 | Bon n°63 |  | Service 1 | Curatif | Rapide |  | Sur le fond | 2008-07-08 | 15:00 | 2008-07-08 | 16:50 | 2008-07-09 | 10:30 | Prestataire 2 | 2 | 1 | 2 | 2 |  | 28 | 7 | 2008 | Service 1 | Rapide | 0.076389 | 0.73611 | 0.8125 | Sur le fond | Curatif | 0.73611 |  | Prestataire 2 | 1.8 |  | \...\ | [6 empty] | \...\
Intervention 17 | Bon n°67 |  | Service 1 | Travaux |  | A traiter |  |  |  | 2008-07-15 | 8:00 | 2008-07-16 | 16:00 | [6 empty] | 29 | 7 | 2008 | Service 1 |  |  | 1899-12-31 08:00 |  |  | Travaux | 1899-12-31 08:00 | A traiter |  |  |  | \...\ | [6 empty] | \...\
Intervention 18 | Bon n°71 |  | Service 1 | Curatif | Urgent |  | Sur la forme | 2008-07-15 | 8:00 | 2008-07-15 | 8:15 | 2008-07-15 | 9:00 | Prestataire 1 | 1 | 2 | 2 | 1 |  | 29 | 7 | 2008 | Service 1 | Urgent | 0.010417 | 0.03125 | 0.041667 | Sur la forme | Curatif | 0.03125 |  | Prestataire 1 | 1.5 |  | \...\ | [6 empty] | \...\
Intervention 19 | Bon n°75 |  | Service 2 | Préventif |  | Grave |  |  |  | 2008-07-15 | 9:00 | 2008-07-16 | 17:00 | [6 empty] | 29 | 7 | 2008 | Service 2 |  |  | 1899-12-31 08:00 |  |  | Préventif | 1899-12-31 08:00 | Grave |  |  |  | \...\ | [6 empty] | \...\
Intervention 20 | Bon n°79 |  | Service 1 | Curatif | Urgent |  |  | 2008-07-15 | 9:15 | 2008-07-15 | 10:05 | 2008-07-15 | 11:50 | [6 empty] | 29 | 7 | 2008 | Service 1 | Urgent | 0.034722 | 0.072917 | 0.10764 |  | Curatif | 0.072917 |  |  |  |  | \...\ | [6 empty] | \...\
Intervention 21 | Bon n°83 |  | Service 1 | Curatif | Urgent |  | Sur la forme | 2008-07-15 | 11:00 | 2008-07-15 | 11:50 | 2008-07-15 | 15:00 | [6 empty] | 29 | 7 | 2008 | Service 1 | Urgent | 0.034722 | 0.13194 | 0.16667 | Sur la forme | Curatif | 0.13194
Intervention 22 | Bon n°87 |  | Service 2 | Préventif | [5 empty] | 2008-07-15 | 12:00 | 2008-07-16 | 16:15 | [6 empty] | 29 | 7 | 2008 | Service 2 |  |  | 1899-12-31 04:15 |  |  | Préventif | 1899-12-31 04:15
Intervention 23 | Bon n°91 |  | Service 2 | Travaux | [5 empty] | 2008-07-15 | 14:00 | 2008-07-17 | 10:00 | Prestataire 2 | 1 | 3 | 2 | 2 |  | 29 | 7 | 2008 | Service 2 |  |  | 1899-12-31 20:00 |  |  | Travaux | 1899-12-31 20:00 |  | Prestataire 2 | 2
Intervention 24 | Bon n°95 |  | Service 1 | Travaux | [5 empty] | 2008-07-15 | 14:00 | 2008-07-16 | 11:50 | [6 empty] | 29 | 7 | 2008 | Service 1 |  |  | 0.90972 |  |  | Travaux | 0.90972
Intervention 25 | Bon n°99 |  | Service 2 | Curatif | Rapide |  |  | 2008-07-21 | 10:00 | 2008-07-21 | 11:15 | 2008-07-21 | 14:30 | [6 empty] | 30 | 7 | 2008 | Service 2 | Rapide | 0.052083 | 0.13542 | 0.1875 |  | Curatif | 0.13542
Intervention 26 | Bon n°103 |  | Service 2 | Préventif |  | A traiter |  |  |  | 2008-07-21 | 8:00 | 2008-07-22 | 10:00 | [6 empty] | 30 | 7 | 2008 | Service 2 |  |  | 1899-12-31 02:00 |  |  | Préventif | 1899-12-31 02:00 | A traiter
Intervention 27 | Bon n°107 |  | Service 1 | Curatif | Urgent |  |  | 2008-07-21 | 11:20 | 2008-07-21 | 12:00 | 2008-07-21 | 17:15 | Prestataire 2 | 1 | 4 | 2 | 3 |  | 30 | 7 | 2008 | Service 1 | Urgent | 0.027778 | 0.21875 | 0.24653 |  | Curatif | 0.21875 |  | Prestataire 2 | 2.5
Intervention 28 | Bon n°111 |  | Service 2 | Curatif | Rapide |  |  | 2008-07-21 | 11:50 | 2008-07-21 | 12:15 | 2008-07-21 | 15:30 | [6 empty] | 30 | 7 | 2008 | Service 2 | Rapide | 0.017361 | 0.13542 | 0.15278 |  | Curatif | 0.13542
Intervention 29 | Bon n°115 |  | Service 1 | Curatif | Urgent |  | Sur la forme | 2008-07-21 | 14:00 | 2008-07-21 | 15:05 | 2008-07-21 | 17:30 | [6 empty] | 30 | 7 | 2008 | Service 1 | Urgent | 0.045139 | 0.10069 | 0.14583 | Sur la forme | Curatif | 0.10069
Intervention 30 | Bon n°119 |  | Service 2 | Travaux |  | A traiter |  |  |  | 2008-07-21 | 16:00 | 2008-07-22 | 11:00 | [6 empty] | 30 | 7 | 2008 | Service 2 |  |  | 0.79167 |  |  | Travaux | 0.79167 | A traiter
Intervention 31 | Bon n°123 |  | Service 1 | Préventif | [5 empty] | 2008-07-21 | 16:15 | 2008-07-22 | 15:30 | Prestataire 1 | 2 | 1 | 1 | 2 |  | 30 | 7 | 2008 | Service 1 |  |  | 0.96875 |  |  | Préventif | 0.96875 |  | Prestataire 1 | 1.5
Intervention 32 | Bon n°127 |  | Service 1 | Curatif | Urgent |  |  | 2008-07-21 | 17:00 | 2008-07-21 | 17:30 | 2008-07-22 | 9:00 | [6 empty] | 30 | 7 | 2008 | Service 1 | Urgent | 0.020833 | 0.64583 | 0.66667 |  | Curatif | 0.64583
Intervention 33
Intervention 34
Intervention 35
Intervention 36
Intervention 37
Intervention 38
Intervention 39
Intervention 40
Intervention 41
Intervention 42
Intervention 43
Intervention 44
Intervention 45
Intervention 46
Intervention 47
Intervention 48
Intervention 49
Intervention 50
Intervention 51
Intervention 52
Intervention 53
Intervention 54
Intervention 55
Intervention 56
Intervention 57
Intervention 58
Intervention 59
Intervention 60
Intervention 61
Intervention 62
Intervention 63
Intervention 64
Intervention 65
Intervention 66
Intervention 67
Intervention 68
Intervention 69
Intervention 70
Intervention 71
Intervention 72
Intervention 73
Intervention 74
Intervention 75
Intervention 76
Intervention 77
Intervention 78
Intervention 79
Intervention 80
Intervention 81
Intervention 82
Intervention 83
Intervention 84
Intervention 85
Intervention 86
Intervention 87
Intervention 88
Intervention 89
Intervention 90
Intervention 91
Intervention 92
Intervention 93
Intervention 94
Intervention 95
Intervention 96
Intervention 97
Intervention 98
Intervention 99
Intervention 100
Intervention 101
Intervention 102
Intervention 103
Intervention 104
Intervention 105
Intervention 106
Intervention 107
Intervention 108
Intervention 109
Intervention 110
Intervention 111
Intervention 112
Intervention 113
Intervention 114
Intervention 115
Intervention 116
Intervention 117
Intervention 118
Intervention 119
Intervention 120
Intervention 121
Intervention 122
Intervention 123
Intervention 124
Intervention 125
Intervention 126
Intervention 127
Intervention 128
Intervention 129
Intervention 130
Intervention 131
Intervention 132
Intervention 133
Intervention 134
Intervention 135
Intervention 136
Intervention 137
Intervention 138
Intervention 139
Intervention 140
Intervention 141
Intervention 142
Intervention 143
Intervention 144
Intervention 145
Intervention 146
Intervention 147
Intervention 148
Intervention 149
Intervention 150
Intervention 151
Intervention 152
Intervention 153
Intervention 154
Intervention 155
Intervention 156
Intervention 157
Intervention 158
Intervention 159
Intervention 160
Intervention 161
Intervention 162
Intervention 163
Intervention 164
Intervention 165
Intervention 166
Intervention 167
Intervention 168
Intervention 169
Intervention 170
Intervention 171
Intervention 172
Intervention 173
Intervention 174
Intervention 175
Intervention 176
Intervention 177
Intervention 178
Intervention 179
Intervention 180
Intervention 181
Intervention 182
Intervention 183
Intervention 184
Intervention 185
Intervention 186
Intervention 187
Intervention 188
Intervention 189
Intervention 190
Intervention 191
Intervention 192
Intervention 193
Intervention 194
Intervention 195
Intervention 196
Intervention 197
Intervention 198
Intervention 199
Intervention 200
Intervention 201
Intervention 202
Intervention 203
Intervention 204
Intervention 205
Intervention 206
Intervention 207
Intervention 208
Intervention 209
Intervention 210
Intervention 211
Intervention 212
Intervention 213
Intervention 214
Intervention 215
Intervention 216
Intervention 217
Intervention 218
Intervention 219
Intervention 220
Intervention 221
Intervention 222
Intervention 223
Intervention 224
Intervention 225
Intervention 226
Intervention 227
Intervention 228
Intervention 229
Intervention 230
Intervention 231
Intervention 232
Intervention 233
Intervention 234
Intervention 235
Intervention 236
Intervention 237
Intervention 238
Intervention 239
Intervention 240
Intervention 241
Intervention 242
Intervention 243
Intervention 244
Intervention 245
Intervention 246
Intervention 247
Intervention 248
Intervention 249
Intervention 250
Intervention 251
Intervention 252
Intervention 253
Intervention 254
Intervention 255
Intervention 256
Intervention 257
Intervention 258
Intervention 259
Intervention 260
Intervention 261
Intervention 262
Intervention 263
Intervention 264
Intervention 265
Intervention 266
Intervention 267
Intervention 268
Intervention 269
Intervention 270
Intervention 271
Intervention 272
Intervention 273
Intervention 274
Intervention 275
Intervention 276
Intervention 277
Intervention 278
Intervention 279
Intervention 280
Intervention 281
Intervention 282
Intervention 283
Intervention 284
Intervention 285
Intervention 286
Intervention 287
Intervention 288
Intervention 289
Intervention 290
Intervention 291
Intervention 292
Intervention 293
Intervention 294
Intervention 295
Intervention 296
Intervention 297
Intervention 298
Intervention 299
Intervention 300
Intervention 301
Intervention 302
Intervention 303
Intervention 304
Intervention 305
Intervention 306
Intervention 307
Intervention 308
Intervention 309
Intervention 310
Intervention 311
Intervention 312
Intervention 313
Intervention 314
Intervention 315
Intervention 316
Intervention 317
Intervention 318
Intervention 319
Intervention 320
Intervention 321
Intervention 322
Intervention 323
Intervention 324
Intervention 325
Intervention 326
Intervention 327
Intervention 328
Intervention 329
Intervention 330
Intervention 331
Intervention 332
Intervention 333
Intervention 334
Intervention 335
Intervention 336
Intervention 337
Intervention 338
Intervention 339
Intervention 340
Intervention 341
Intervention 342
Intervention 343
Intervention 344
Intervention 345
Intervention 346
Intervention 347
Intervention 348
Intervention 349
Intervention 350
Intervention 351
Intervention 352
Intervention 353
Intervention 354
Intervention 355
Intervention 356
Intervention 357
Intervention 358
Intervention 359
Intervention 360
Intervention 361
Intervention 362
Intervention 363
Intervention 364
Intervention 365
Intervention 366
Intervention 367
Intervention 368
Intervention 369
Intervention 370
Intervention 371
Intervention 372
Intervention 373
Intervention 374
Intervention 375
Intervention 376
Intervention 377
Intervention 378
Intervention 379
Intervention 380
Intervention 381
Intervention 382
Intervention 383
Intervention 384
Intervention 385
Intervention 386
Intervention 387
Intervention 388
Intervention 389
Intervention 390
Intervention 391
Intervention 392
Intervention 393
Intervention 394
Intervention 395
Intervention 396
Intervention 397
Intervention 398
Intervention 399
Intervention 400
Intervention 401
Intervention 402
Intervention 403
Intervention 404
Intervention 405
Intervention 406
Intervention 407
Intervention 408
Intervention 409
Intervention 410
Intervention 411
Intervention 412
Intervention 413
Intervention 414
Intervention 415
Intervention 416
Intervention 417
Intervention 418
Intervention 419
Intervention 420
Intervention 421
Intervention 422
Intervention 423
Intervention 424
Intervention 425
Intervention 426
Intervention 427
Intervention 428
Intervention 429
Intervention 430
Intervention 431
Intervention 432
Intervention 433
Intervention 434
Intervention 435
Intervention 436
Intervention 437
Intervention 438
Intervention 439
Intervention 440
Intervention 441
Intervention 442
Intervention 443
Intervention 444
Intervention 445
Intervention 446
Intervention 447
Intervention 448
Intervention 449
Intervention 450
Intervention 451
Intervention 452
Intervention 453
Intervention 454
Intervention 455
Intervention 456
Intervention 457
Intervention 458
Intervention 459
Intervention 460
Intervention 461
Intervention 462
Intervention 463
Intervention 464
Intervention 465
Intervention 466
Intervention 467
Intervention 468
Intervention 469
Intervention 470
Intervention 471
Intervention 472
Intervention 473
Intervention 474
Intervention 475
Intervention 476
Intervention 477
Intervention 478
Intervention 479
Intervention 480
Intervention 481
Intervention 482
Intervention 483
Intervention 484
Intervention 485
Intervention 486
Intervention 487
Intervention 488
Intervention 489
Intervention 490
Intervention 491
Intervention 492
Intervention 493
Intervention 494
Intervention 495
Intervention 496
Intervention 497
Intervention 498
Intervention 499
Intervention 500
Intervention 501
Intervention 502
Intervention 503
Intervention 504
Intervention 505
Intervention 506
Intervention 507
Intervention 508
Intervention 509
Intervention 510
Intervention 511
Intervention 512
Intervention 513
Intervention 514
Intervention 515
Intervention 516
Intervention 517
Intervention 518
Intervention 519
Intervention 520
Intervention 521
Intervention 522
Intervention 523
Intervention 524
Intervention 525
Intervention 526
Intervention 527
Intervention 528
Intervention 529
Intervention 530
Intervention 531
Intervention 532
Intervention 533
Intervention 534
Intervention 535
Intervention 536
Intervention 537
Intervention 538
Intervention 539
Intervention 540
Intervention 541
Intervention 542
Intervention 543
Intervention 544
Intervention 545
Intervention 546
Intervention 547
Intervention 548
Intervention 549
Intervention 550
Intervention 551
Intervention 552
Intervention 553
Intervention 554
Intervention 555
Intervention 556
Intervention 557
Intervention 558
Intervention 559
Intervention 560
Intervention 561
Intervention 562
Intervention 563
Intervention 564
Intervention 565
Intervention 566
Intervention 567
Intervention 568
Intervention 569
Intervention 570
Intervention 571
Intervention 572
Intervention 573
Intervention 574
Intervention 575
Intervention 576
Intervention 577
Intervention 578
Intervention 579
Intervention 580
Intervention 581
Intervention 582
Intervention 583
Intervention 584
Intervention 585
Intervention 586
Intervention 587
Intervention 588
Intervention 589
Intervention 590
Intervention 591
Intervention 592
Intervention 593
Intervention 594
Intervention 595
Intervention 596
Intervention 597
Intervention 598
Intervention 599
Intervention 600
Intervention 601
Intervention 602
Intervention 603
Intervention 604
Intervention 605
Intervention 606
Intervention 607
Intervention 608
Intervention 609
Intervention 610
Intervention 611
Intervention 612
Intervention 613
Intervention 614
Intervention 615
Intervention 616
Intervention 617
Intervention 618
Intervention 619
Intervention 620
Intervention 621
Intervention 622
Intervention 623
Intervention 624
Intervention 625
Intervention 626
Intervention 627
Intervention 628
Intervention 629
Intervention 630
Intervention 631
Intervention 632
Intervention 633
Intervention 634
Intervention 635
Intervention 636
Intervention 637
Intervention 638
Intervention 639
Intervention 640
Intervention 641
Intervention 642
Intervention 643
Intervention 644
Intervention 645
Intervention 646
Intervention 647
Intervention 648
Intervention 649
Intervention 650
Intervention 651
Intervention 652
Intervention 653
Intervention 654
Intervention 655
Intervention 656
Intervention 657
Intervention 658
Intervention 659
Intervention 660
Intervention 661
Intervention 662
Intervention 663
Intervention 664
Intervention 665
Intervention 666
Intervention 667
Intervention 668
Intervention 669
Intervention 670
Intervention 671
Intervention 672
Intervention 673
Intervention 674
Intervention 675
Intervention 676
Intervention 677
Intervention 678
Intervention 679
Intervention 680
Intervention 681
Intervention 682
Intervention 683
Intervention 684
Intervention 685
Intervention 686
Intervention 687
Intervention 688
Intervention 689
Intervention 690
Intervention 691
Intervention 692
Intervention 693
Intervention 694
Intervention 695
Intervention 696
Intervention 697
Intervention 698
Intervention 699
Intervention 700
Intervention 701
Intervention 702
Intervention 703
Intervention 704
Intervention 705
Intervention 706
Intervention 707
Intervention 708
Intervention 709
Intervention 710
Intervention 711
Intervention 712
Intervention 713
Intervention 714
Intervention 715
Intervention 716
Intervention 717
Intervention 718
Intervention 719
Intervention 720
Intervention 721
Intervention 722
Intervention 723
Intervention 724
Intervention 725
Intervention 726
Intervention 727
Intervention 728
Intervention 729
Intervention 730
Intervention 731
Intervention 732
Intervention 733
Intervention 734
Intervention 735
Intervention 736
Intervention 737
Intervention 738
Intervention 739
Intervention 740
Intervention 741
Intervention 742
Intervention 743
Intervention 744
Intervention 745
Intervention 746
Intervention 747
Intervention 748
Intervention 749
Intervention 750
Intervention 751
Intervention 752
Intervention 753
Intervention 754
Intervention 755
Intervention 756
Intervention 757
Intervention 758
Intervention 759
Intervention 760
Intervention 761
Intervention 762
Intervention 763
Intervention 764
Intervention 765
Intervention 766
Intervention 767
Intervention 768
Intervention 769
Intervention 770
Intervention 771
Intervention 772
Intervention 773
Intervention 774
Intervention 775
Intervention 776
Intervention 777
Intervention 778
Intervention 779
Intervention 780
Intervention 781
Intervention 782
Intervention 783
Intervention 784
Intervention 785
Intervention 786
Intervention 787
Intervention 788
Intervention 789
Intervention 790
Intervention 791
Intervention 792
Intervention 793
Intervention 794
Intervention 795
Intervention 796
Intervention 797
Intervention 798
Intervention 799
Intervention 800
Intervention 801
Intervention 802
Intervention 803
Intervention 804
Intervention 805
Intervention 806
Intervention 807
Intervention 808
Intervention 809
Intervention 810
Intervention 811
Intervention 812
Intervention 813
Intervention 814
Intervention 815
Intervention 816
Intervention 817
Intervention 818
Intervention 819
Intervention 820
Intervention 821
Intervention 822
Intervention 823
Intervention 824
Intervention 825
Intervention 826
Intervention 827
Intervention 828
Intervention 829
Intervention 830
Intervention 831
Intervention 832
Intervention 833
Intervention 834
Intervention 835
Intervention 836
Intervention 837
Intervention 838
Intervention 839
Intervention 840
Intervention 841
Intervention 842
Intervention 843
Intervention 844
Intervention 845
Intervention 846
Intervention 847
Intervention 848
Intervention 849
Intervention 850
Intervention 851
Intervention 852
Intervention 853
Intervention 854
Intervention 855
Intervention 856
Intervention 857
Intervention 858
Intervention 859
Intervention 860
Intervention 861
Intervention 862
Intervention 863
Intervention 864
Intervention 865
Intervention 866
Intervention 867
Intervention 868
Intervention 869
Intervention 870
Intervention 871
Intervention 872
Intervention 873
Intervention 874
Intervention 875
Intervention 876
Intervention 877
Intervention 878
Intervention 879
Intervention 880
Intervention 881
Intervention 882
Intervention 883
Intervention 884
Intervention 885
Intervention 886
Intervention 887
Intervention 888
Intervention 889
Intervention 890
Intervention 891
Intervention 892
Intervention 893
Intervention 894
Intervention 895
Intervention 896
Intervention 897
Intervention 898
Intervention 899
Intervention 900
Intervention 901
Intervention 902
Intervention 903
Intervention 904
Intervention 905
Intervention 906
Intervention 907
Intervention 908
Intervention 909
Intervention 910
Intervention 911
Intervention 912
Intervention 913
Intervention 914
Intervention 915
Intervention 916
Intervention 917
Intervention 918
Intervention 919
Intervention 920
Intervention 921
Intervention 922
Intervention 923
Intervention 924
Intervention 925
Intervention 926
Intervention 927
Intervention 928
Intervention 929
Intervention 930
Intervention 931
Intervention 932
Intervention 933
Intervention 934
Intervention 935
Intervention 936
Intervention 937
Intervention 938
Intervention 939
Intervention 940
Intervention 941
Intervention 942
Intervention 943
Intervention 944
Intervention 945
Intervention 946
Intervention 947
Intervention 948
Intervention 949
Intervention 950
Intervention 951
Intervention 952
Intervention 953
Intervention 954
Intervention 955
Intervention 956
Intervention 957
Intervention 958
Intervention 959
Intervention 960
Intervention 961
Intervention 962
Intervention 963
Intervention 964
Intervention 965
Intervention 966
Intervention 967
Intervention 968
Intervention 969
Intervention 970
Intervention 971
Intervention 972
Intervention 973
Intervention 974
Intervention 975
Intervention 976
Intervention 977
Intervention 978
Intervention 979
Intervention 980
Intervention 981
Intervention 982
Intervention 983
Intervention 984
Intervention 985
Intervention 986
Intervention 987
Intervention 988
Intervention 989
Intervention 990
Intervention 991
Intervention 992
Intervention 993
Intervention 994
Intervention 995
Intervention 996
Intervention 997
Intervention 998
Intervention 999

## 3_Tableau de bord
Attention : penser à actualiser les données ("!") des graphiques dynamiques…

## Indicateur1 (hidden)
Service | (Tous)
Moyenne de Indicateur 1 : Délai d'intervention | Niveau d'urgence
Date de prise en charge effective Semaine | Rapide | Urgent | Total
27 | 0.13194 | 0.090278 | 0.10069
28 | 0.039931 | 0.069444 | 0.045833
29 |  | 0.02662 | 0.02662
30 | 0.034722 | 0.03125 | 0.032639
Total | 0.051587 | 0.051389 | 0.051471

## Indicateur2 (hidden)
Service | (Tous)
Moyenne de Indicateur 2 : Temps de remise en service
Date de prise en charge effective Semaine | Total
27 | 16:04
28 | 18:31
29 | 20:28
30 | 12:14
Total | 16:59

## Indicateur3 (hidden)
Service | (Tous)
Moyenne de Indicateur 3 : Délai global de prise en charge
Date de prise en charge effective Semaine | Total
27 | 12:09
28 | 13:11
29 | 2:32
30 | 6:43
Total | 9:09

## Indicateur4 (hidden)
Service | (Tous)
Nombre de Indicateur 4 : Solliciation non-conforme | Indicateur 4 : Solliciation non-conforme
Date de prise en charge effective Semaine | Sur la forme | Sur le fond | Total
27 | 1 | 2 | 3
28 | 1 | 2 | 3
29 | 2 |  | 2
30 | 1 |  | 1
Total | 5 | 4 | 9

## Indicateur5 (hidden)
Service | (Tous)
Somme de Indicateur 5 : Temps de remise en service | Indicateur 5 : Préventif / curatif / travaux
Date de prise en charge effective Semaine | Curatif | Préventif | Travaux | Total
27 | 1899-12-31 14:55 | 1900-01-01 09:30 |  | 1900-01-03 00:25
28 | 1900-01-01 12:25 | 1900-01-02 01:15 | 1900-01-01 03:30 | 1900-01-06 17:10
29 | 0.23611 | 1900-01-01 12:15 | 1900-01-03 01:50 | 1900-01-05 19:45
30 | 1899-12-31 05:40 | 1900-01-01 01:15 | 0.79167 | 1900-01-03 01:55
Total | 1900-01-04 14:40 | 1900-01-09 00:15 | 1900-01-06 00:20 | 1900-01-21 15:15

## Indicateur6 (hidden)
Service | (Tous)
Nombre de Indicateur 6 : Levée des réserves liées aux contrôles réglementaires | Indicateur 6 : Levée des réserves liées aux contrôles réglementaires
Date de prise en charge effective Semaine | Grave | A traiter | Total
27 | 1 |  | 1
28 | 2 |  | 2
29 | 1 | 1 | 2
30 |  | 2 | 2
Total | 4 | 3 | 7

## Indicateur7 (hidden)
Service | (Tous)
Moyenne de Indicateur 7 : Niveau de qualité du prestataire | Indicateur 7 : Prestataire
Date de prise en charge effective Semaine | Prestataire 1 | Prestataire 2 | Total
27 | 2.8 | 1.75 | 2.1
28 | 2 | 2.15 | 2.075
29 | 1.5 | 2 | 1.75
30 | 1.5 | 2.5 | 2
Total | 1.96 | 2.05 | 2.0091